| Continuous Assessment Cover Sheet |  |
| --- | --- |
| Student Name: Jinyan Yang | Student Number:D00264564 |

| Programme: | Stage: | Complete Student Checklist: Re-read brief References and Bibliography Proofread |
| --- | --- | --- |
| Module: Power System Engineering |  |  |
| Due Date: 2023.10. 4 | No. Pages: 12 |  |
| Lecturer’s Name: Tim Daly |  |  |
| Assignment No. and/or Description/Topic: Power World |  | Mode of Submission: Softcopy Hardcopy |

DECLARATION: I declare that: - This work is entirely my own, and no part of it has been copied from any other person’s words or ideas, except as specifically acknowledged through the use of inverted commas and in-text references; - No part of this assignment has been written for me by any other person except where such collaboration has been authorised by the lecturer concerned; - I understand that I am bound by DkIT Academic Integrity Policy. I understand that I may be penalised if I have violated the policy in any way; - This assignment has not been submitted for any other module at DkIT or any other institution, unless authorised by the relevant Lecturer(s); - I have read and abided by all of the requirements set down for this assignment. Signature……………………………………………………..…………………………………………………… Date………………..…………

Lecturer’s  Comments

Provisional Mark :   	     Lecturers Signature :  			_________   Date: _________

Work submitted late will be subject to penalties in accordance with the DkIT Continuous Assessment Policy

Power System Engineering Assignment 1

TOC

1. Introduction to Power World	3

2. Setting up Power World	4

2.1 File-New case	4

2.2 Draw some example	4

2.3 Start to study Power world	5

2.3.1 function	5

2.3.2 Zoom method	7

2.4 Power World Simulator—Edit Mode:	7

2.4.1 Edit mode	7

3. Review of previous studies	10

4.Transmission lines (part 1) – wk 2	13

### List of Figures

Pic. 1  Build a new case	4

Pic. 2  Draw example1	4

Pic. 3  Draw example2	5

Pic. 4  Draw example3	5

Pic. 5  function1	6

Pic. 6  function2	6

Pic. 7  function3	7

Pic. 8  function4	7

Pic. 9  Edit mode	8

Pic. 10   Bus3-1	8

Pic. 11   Bus3-2	9

Pic. 12   Bus3-3	9

Pic. 13   Bus3-4	10

Pic. 14   Bus3-5	10

Pic. 15   Bus3-6	11

Pic. 16   Bus3-7	11

Pic. 17  example 2.3	12

Pic. 18  example 2.32	13

Pic. 19  example 5_4	14

- Introduction to Power World

- Function:

- Power World provides convenient tool for simulating power system timing, allowing the user to simulate a power system with color-animated single line diagram.

- Alternative:

- Easypower, skm, EDSA

- Setting up Power World

- 2.1 File-New case

- Pic. 1 Build a new case

- 2.2 Draw some examples

- Pic. 2 Draw example1

- Pic. 3 Draw example2

- Pic. 4 Draw example3

- 2.3 Start to study Power world

- 2.3.1 function

- Select the Tools tab on the Ribbon and then click on the green and black arrow button above Solve (i.e.,the ‘‘Play’’ button).

- Pic. 5 function1

- Clicking on any of the circuit breakers isolates the load from the generator resulting in a blackout.

- Pic. 6 function2

- Note that because of the impedance of the line, the load’s voltage drops as its value is increased

- Pic. 7 function3

- Pic. 8 function4

- 2.3.2 Zoom method

- click in an empty portion, the keyboard arrow keys in the direction, so on

- The power system model is stored in *.pwb files (Power World binary file) while the one-line display information is stored in *.pwd files (Power World display file).

- 2.4 Power World Simulator—Edit Mode:

- Power World has simulations and performing analysis

- 2.4.1 Edit mode

- Pic. 9 Edit mode

- BUS 3

- Pic. 10  Bus3-1

- Pic. 11  Bus3-2

- BUS-  change the font’s size

- Pic. 12  Bus3-3

- BUS3 load-set parameter

- Pic. 13  Bus3-4

- change the option dialog size

- Pic. 14  Bus3-5

- Pic. 15  Bus3-6

- P： real power provided to the load bus Q: reactive power

- Pic. 16  Bus3-7

- 3. Review of previous studies

- Real power flow is unchanged

- Pic. 17 example 2.3

- The effect of the capacitor is to increase power factor of the generator power to the load. Also,

- Qc increases to 20kvar, Qs will decrease to 35kvar.

- Qs = Ss2−Ps2(	Qs is decreasing, Ps is unchanging, Ss is decreasing)

- Ss= Ps/ pf (Ss is decreasing, pf is increasing )

- Is= Ss/V (Ss is decreasing, Is is decreasing )

- Note:

- Ps is generator real power;

- Ss is generator power;

- pf is power factor;

- Qc is reactive compensation;

- Qs is reactive power;

- Pic. 18 example 2.32

| Qcap(Mvar) | Real power line loss(MW) | Power flow(Mvar) | Power factor |
| --- | --- | --- | --- |
| 0.5 | 0.400 | 0.801 | 0.895 |
| 1.0 | 0.383 | 0.766 | 0.856 |
| 1.5 | 0.369 | 0.738 | 0.825 |
| 2.0 | 0.357 | 0.714 | 0.798 |
| 2.5 | 0.348 | 0.696 | 0.778 |
| 3.0 | 0.341 | 0.682 | 0.762 |
| 3.5 | 0.337 | 0.675 | 0.754 |
| 4.0 | 0.336 | 0.670 | 0.750 |
| 4.5 | 0.337 | 0.675 | 0.754 |
| 5.0 | 0.341 | 0.682 | 0.762 |
| 5.5 | 0.348 | 0.696 | 0.778 |
| 6.0 | 0.357 | 0.714 | 0.798 |
| 6.5 | 0.369 | 0.738 | 0.825 |
| 7.0 | 0.383 | 0.766 | 0.856 |
| 7.5 | 0.400 | 0.801 | 0.895 |
| 8.0 | 0.420 | 0.840 | 0.939 |
| 8.5 | 0.442 | 0.885 | 0.989 |
| 9.0 | 0.460 | 0.934 | 1.041 |
| 9.5 | 0.495 | 0.990 | 1.107 |
| 10.0 | 0.525 | 1.050 | 1.174 |

- Char.3.1-example 2.32

- Qcap between 0.5 and 4.0, source voltage is decreasing, so the feeder loss is decreasing;

- Qcap between 4.5 and 10.0, source voltage is decreasing, so the feeder loss is increasing;

- Qcap = 4.0; minimize Real power line loss and Real power line loss and minimize power MVA flow;

- Transmission lines (part 1) – wk 2

- Transmission lines are used to transmit radio-frequency alternating currents, which are of a high enough frequency that their wave nature must be taken into account. Transmission lines are generally used for connecting transmitter and receiver antennas, transmitting cable television signals, relaying routed calls between telecommunication exchanges, computer network connections, and high-speed computer data buses.

- Pic. 19 example 5_4

- 5.43

- If 0.9 per unit,

- Pmax = 0.9∗0.9∗2199sin(2π∗3005000)=2.2*2199=4840 MW

- 5.44

- Pmax = 0.9∗0.9∗1000sin(2π∗3005000)=2.2*1000=2200 MW

When load on the line = SIL Reactive power = 0

When load on the line > SIL Load voltage < send ending value

When load on the line < SIL Load voltage > send ending value